## Sheet1
dataTagId | description | system | systemName | systemInstance | equipment | equipmentName | equipmentInstance | component | componentName | componentInstance | subcomponent | subcomponentName | subcomponentInstance | measureLocation | measureLocationName | measureLocationInstance | measureProperty | measureType | measureUnit | tagType | address
11MAA50CT021XQ01.PV | HP Exhaust Temp 1 | [12 empty] | Inlet |  |  |  | Temperature
11MAD11CT021AXQ1.PV | TMP RAD BRG HPC FTL
11MAD12CT034BXQ1.PV | TMP-AX BRG HPC RFR
11MAD13CT014AXQ1.PV | TMP RAD BRG IPC RB FR
11MAD15CT018AXQ1.PV | RAD BRG LPC2 RRBR
11MAG10CP901XQ01.PV | CONDENSER 1 PRESS
11MAN14CT001BXQ1.PV | COND2 WALL TMP LPBP-2
11MAV42CP001XQ10.PV | LUBE OIL PRESSURE - 1
11MKA71CT011AXQ1.PV | TEMP AIR GAS CLR A & B - 1 | [12 empty] | Inlet |  |  |  | Temperature
11MKA71CT033AXQ1.PV | CG TEMP AFT H2 CLR C & D-3 | [12 empty] | Inlet |  |  | Hydrogen | Temperature
11MKD11CT013AXQ1.PV | GEN FR BRG BOT FR
11MKD15CT014AXQ1.PV | TMP EXC BRG BOT -FR
11MKF29CT011AXQ1.PV | PW TEMP AFT CLR-1 | [12 empty] | Inlet |  |  |  | Temperature
11MKF51CF011AXQ1.PV | FLOWS MAIN BUSHING 'R' -1
12MAC21CP001XQ01.PV | LP2 I/L STM PR-1 | [12 empty] | Inlet |  |  | Steam | Temperature
12MAD12CY011XQ01.PV | AXIAL SHIFT - 1
12MAN11CT001BXQ1.PV | COND WALL TMP LPBP-1
12MKF51CF021AXQ1.PV | FLOWS MAIN BUSHING 'V' -1
1ACWP_DISHDR_PR.PV | ACW DISCH HDR PRESSUE | [12 empty] | Outlet
1AHA_GB_OILTMP.PV | APH A GUIDE BRG OIL TEMP | [12 empty] | Inlet |  |  |  | Temperature
1BAT01GX101_XQ05.PV | GT-2A HV WDG TEMP. | [12 empty] | Inlet |  |  |  | Temperature
1BBA01GX103_XQ05.PV | 2BBA01 I/C LINE VOLT R-Y
1BCWP A_DP_SEL.PV | BCW PMP A DP
1BFPA_RCV_DNMTL.PV | Recirculation Line Temperature TDBFP-A | [12 empty] | Inlet |  |  |  | Temperature
1BFPDTA_SPD_MV3.PV | TDBFP-A Speed
1BURNER_TILT_AVG.PV | BURNER TILT AVERAGE
1COND2DEA_FL_ACT.PV | CONDENSATE FLOW
1CRH_OLTMP_LSEL.PV | CRH TEMP (LEFT) | [12 empty] | Inlet |  |  |  | Temperature
1DEA_LVL_SEL.PV | Dea level
1DM MU FLOW.PV | Make Up WaterFlow
1DSH_OLTMP_LSEL.PV | DE SUPERHEATER STEAM O\L TEMP LEFT | [12 empty] | Inlet |  |  |  | Temperature
1ESP_OUT_AVE.PV | CHIMNEY OPACITY ANALYSER
1ExtStm2DeaFlw.PV | EXT 4 FLOW
1FDRA_FDRATE.PV | FDR A_FEEDRATE